## Instructions
Instructions
1 | These checklists must be used to comply with FEMA Guidelines and Standards for reviews.
2 | All completed checklists are to be stored in the TSDN study folder as quality records.
3 | Data package for review ought to be submitted to reviewer as a final product (refer to FEMA Data Capture Technical Reference for direction on how to assemble final deliverables)
4 | The reviewer is required to indicate (using the supplied drop-down menu) if the item passed, failed, or was not applicable for the review. The answer chosen will affect the calculated percentages which can be used in quality reviews.
5 | Detail and clarification can be added to "Reviewer Comments" if explanation or nuance is appropriate.
6 | The "Originator Disposition" must be filled out by the product originator for each item where the reviewer indicated "Fail".
7 | The originator is encouraged to fill out "Originator Comments" when the reviewer indicated that the item failed its compliance check, to explain any unusual circumstances related to how the non-compliance citation was addressed.
8 | The approving party adds his/her initials to "Approver Verification" when corrections are verified and the review item has passed.
9 | The "Approver Comments" can be used to detail how the issue was resolved or what clarifications were made to pass the item.
10 | All parties should date and sign the Sign-Off sheet upon completion of their part of this process.
These checklists comply with November 2017 editions of the FEMA Guidelines and Standards.
| A recommended practice for Map and Report review is to add notes/track review changes to the Map/Report documents to allow for ease of adjustment and clarity in understanding QC comments. Accompanying spatial files can aid in Database review clarity. | <-- delete when you delete the FRM and FRR tab

## Discovery Letters (hidden)
Discovery Initial Contact Letter
General
Approved contact list for the Initial Contact Letter from the FEMA Project Monitor is used
Approved FEMA routed Initial Contact Letter template from the FEMA Project Monitor is used
Spelling is correct throughout letter
Letter Type
Correct letter type is used
Header
Correct FEMA Region or FEMA HQ letterhead is used. Official paper letterhead required (digital letterhead not allowed)
If applicable, correct FEMA Region 2 address and zip code is on the letterhead/header: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, correct FEMA Region 3 address and zip code is on the letterhead/header: FEMA, Region III One Independence Mall, 6th Floor 615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, correct FEMA Region 6 address and zip code is on the letterhead/header: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
Letter is correctly dated. The date on the letter is the date the letters will be mailed.
Elected Official CEO name and title is correctly referenced. All elected officials are called Honorable.
Non-elected CEO (Community or non-governmental organization) name and title is correctly referenced. Non-elected officials are referred to as Mr. or Ms.
Address is correct
Community or Organization name is correct
Salutation
Dear Mr./Ms./Mayor/Chairman/Judge/etc. is correctly used
Body
Watershed is correctly referenced
State Partners are correctly identified and referenced
Acronyms are established with first use
Watershed name is correct
Header on all pages is correct (i.e. CEO's name, date, page number) (if applicable)
NFIP State Coordinator's contact information is included correctly (if applicable)
FEMA Region contact information is included correctly (if applicable)
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct RSC2 address and zip code is used: Regional Support Center - Region 2 560 Broadway, Suite 304 New York, NY 10012
If applicable, the correct RSC2 Contact phone number is used: RSC Phone Number (646) XXX-XXXX
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region IIIOne Independence Mall, 6th Floor615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct RSC3 address and zip code is used: RAMPP Regional Support Center III c/o URS Corporation 8 Penn Center, 21st Floor 1628 John F. Kennedy Boulevard Philadelphia, PA 19103
If applicable, the correct RSC3 Contact phone number is used: RSC Phone Number (215) XXX-XXXX
If applicable, the correct FEMA Region 6 address and zip code is used: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
If applicable, the correct RSC6 Address and Zip Code used: Regional Support Center – Region 6 723 South Interstate 35E, Suite 230 Denton, Texas 76205
If applicable, the correct RSC6 Contact phone number is used: RSC Phone Number (940) XXX-XXXX
Signature Block
Approved signatory's name and title for the Initial Contact Letter from the FEMA Project Monitor is used
Correct signature block is used
Enclosures
Risk MAP Brochure is listed as an enclosure
Watershed Locator Map is listed as an enclosure
Enclosures are physically included
cc: (per region)
Approved CC list for the Initial Contact Letter from the FEMA Project Monitor is used
Study Contractors included correctly (if applicable)
Correct FEMA contacts included (if applicable)
Correct NFIP State Coordinator(s) included (if applicable)
Correct RSC contact listed (if applicable)
bcc: (per region)
Approved bcc list for the Initial Contact Letter from the FEMA Project Monitor is used
Correct contacts are listed
Discovery Invitation Letter
General
Approved contact list for the Invitation Letter from the FEMA Project Monitor is used
Approved Invitation Letter template from the FEMA Project Monitor is used
Spelling is correct throughout letter
Letter Type
Correct letter type is used
Header
Correct FEMA Region or FEMA HQ letterhead is used. Official paper letterhead required (digital letterhead not allowed)
Letter is correctly dated. The date on the letter is the date the letters will be mailed.
Elected Official CEO name and title is correctly referenced. All elected officials are called Honorable.
Non-elected CEO (Community or non-governmental organization) name and title is correctly referenced. Non-elected officials are referred to as Mr. or Ms.
Address is correct
Community or Organization name is correct
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region IIIOne Independence Mall, 6th Floor615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct FEMA Region 6 address and zip code is on the letterhead/header: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
Salutation
Dear Mr./Ms./Mayor/Chairman/Judge/etc. is correctly used
Body
Watershed is correctly referenced
State Partners are correctly identified and referenced
Acronyms are established with first use
Correct enclosures are referenced
Watershed name is correct
Header on all pages is correct (i.e. CEO's name, date, page number) (if applicable)
Meeting(s) location(s), times and dates are specified
Contact information to send data and information is referenced correctly
NFIP State Coordinator's contact information is included correctly (if applicable)
FEMA Region contact information is included correctly (if applicable)
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct RSC2 address and zip code is used: Regional Support Center - Region 2 560 Broadway, Suite 304 New York, NY 10012
If applicable, the correct RSC2 Contact phone number is used: RSC Phone Number (646) XXX-XXXX
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region III One Independence Mall, 6th Floor 615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct RSC3 address and zip code is used: RAMPP Regional Support Center III c/o URS Corporation 8 Penn Center, 21st Floor 1628 John F. Kennedy Boulevard Philadelphia, PA 19103
If applicable, the correct RSC3 Contact phone number is used: RSC Phone Number (215) XXX-XXXX
If applicable, the correct FEMA Region 6 address and zip code is used: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
If applicable, the correct RSC6 Address and Zip Code used: Regional Support Center – Region 6 723 South Interstate 35E, Suite 230 Denton, Texas 76205
If applicable, the correct RSC6 Contact phone number is used: RSC Phone Number (940) XXX-XXXX
Signature Block
Confirmed approved signator for Invitation Letter from the FEMA Project Monitor
Correct signature block is used
Enclosures
Risk MAP Brochure is listed as an enclosure
Watershed Locator Map is listed as an enclosure
cc: (per region)
Approved CC list for the Invitation Letter from the FEMA Project Monitor is used
Study Contractors included correctly (if applicable)
Correct FEMA contacts included (if applicable)
Correct NFIP State Coordinator(s) included (if applicable)
Correct RSC contact listed (if applicable)
bcc: (per region)
Approved bcc list for the Invitation Letter from the FEMA Project Monitor is used
Correct contacts are listed
Discovery Transmittal Letter (if applicable)
General
Approved contact list for the Transmittal Letter from the FEMA Project Monitor is used
Approved Transmittal Letter template from the FEMA Project Monitor is used
Spelling is correct throughout the letter
Letter Type
Correct letter type is used
Header
Correct FEMA Region or FEMA HQ letterhead is used. Official paper letterhead required (digital letterhead not allowed)
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region IIIOne Independence Mall, 6th Floor615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct FEMA Region 6 address and zip code is on the letterhead/header: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
Letter is correctly dated. The date on the letter is the date the letters will be mailed.
Elected Official CEO name and title is correctly referenced. All elected officials are called Honorable.
Non-elected CEO (Community or non-governmental organization) name and title is correctly referenced. Non-elected officials are referred to as Mr. or Ms.
Address is correct
Community or Organization name is correct
Salutation
Dear Mr./Ms./Mayor/Chairman/Judge/etc. is correctly used
Body
Watershed is correctly referenced
State Partners are correctly identified and referenced
Acronyms are established with first use
Watershed name is correct
Correct enclosures References
Header on all pages is correct (i.e. CEO's name, date, page number) (if applicable)
Contact information to send data and information is referenced correctly
NFIP State Coordinator's contact information is included correctly (if applicable)
FEMA Region contact information is included correctly (if applicable)
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct RSC2 address and zip code is used: Regional Support Center - Region 2560 Broadway, Suite 304New York, NY 10012
If applicable, the correct RSC2 Contact phone number is used: RSC Phone Number (646) XXX-XXXX
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region IIIOne Independence Mall, 6th Floor615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct RSC3 address and zip code is used: RAMPP Regional Support Center III c/o URS Corporation 8 Penn Center, 21st Floor 1628 John F. Kennedy Boulevard Philadelphia, PA 19103
If applicable, the correct RSC3 Contact phone number is used: RSC Phone Number (215) XXX-XXXX
If applicable, the correct FEMA Region 6 address and zip code is used: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
If applicable, the correct RSC6 Address and Zip Code used: Regional Support Center – Region 6 723 South Interstate 35E, Suite 230 Denton, Texas 76205
If applicable, the correct RSC6 Contact phone number is used: RSC Phone Number (940) XXX-XXXX
Signature Block
Approved signatory's name and title for the Transmittal Letter from the FEMA Project Monitor is used
Correct signature block is used
Enclosures
Discovery Report DVD is listed as an enclosure
cc: (per region)
Approved CC list for the Transmittal Letter from the FEMA Project Monitor is used
Study Contractors included correctly (if applicable)
Correct FEMA contacts included (if applicable)
Correct NFIP State Coordinator(s) included (if applicable)
Correct RSC contact listed (if applicable)
bcc: (per region)
Approved bcc list for the Transmittal Letter from the FEMA Project Monitor is used
Correct contacts are listed
Discovery Follow-up Letter (if applicable)
General
Approved contact list for the Follow-up Letter from the FEMA Project Monitor is used
Approved Follow-up Letter template from the FEMA Project Monitor is used
Spelling is correct throughout letter
Letter Type
Correct letter type is used
Header
Correct FEMA Region or FEMA HQ letterhead is used. Official paper letterhead required (digital letterhead not allowed)
Letter is correctly dated. The date on the letter is the date the letters will be mailed.
Elected Official CEO name and title is correctly referenced. All elected officials are called Honorable.
Non-elected CEO (Community or non-governmental organization) name and title is correctly referenced. Non-elected officials are referred to as Mr. or Ms.
Address is correct
Community or Organization name is correct
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region III One Independence Mall, 6th Floor 615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct FEMA Region 6 address and zip code is on the letterhead/header: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
Salutation
Dear Mr./Ms./Mayor/Chairman/Judge/etc. is correctly used
Body
Watershed is correctly referenced
State Partners are correctly identified and referenced
Acronyms are established with first use
Watershed name is correct
Header on all pages is correct (i.e. CEO's name, date, page number) (if applicable)
Contact information to send data and information is referenced correctly
NFIP State Coordinator's contact information is included correctly (if applicable)
FEMA Region contact information is included correctly (if applicable)
If applicable, the correct FEMA Region 2 address and zip code is used: FEMA, Region II 26 Federal Plaza, Room 1337 New York, NY 10278
If applicable, the correct RSC2 address and zip code is used: Regional Support Center - Region 2 560 Broadway, Suite 304 New York, NY 10012
If applicable, the correct RSC2 Contact phone number is used: RSC Phone Number (646) XXX-XXXX
If applicable, the correct FEMA Region 3 address and zip code is used: FEMA, Region III One Independence Mall, 6th Floor 615 Chestnut Street Philadelphia, PA 19106-4404
If applicable, the correct RSC3 address and zip code is used: RAMPP Regional Support Center III c/o URS Corporation 8 Penn Center, 21st Floor 1628 John F. Kennedy Boulevard Philadelphia, PA 19103
If applicable, the correct RSC3 Contact phone number is used: RSC Phone Number (215) XXX-XXXX
If applicable, the correct FEMA Region 6 address and zip code is used: FEMA Region 6 800 N. Loop 288 Denton, Texas 76209-3698
If applicable, the correct RSC6 Address and Zip Code used: Regional Support Center – Region 6 723 South Interstate 35E, Suite 230 Denton, Texas 76205
If applicable, the correct RSC6 Contact phone number is used: RSC Phone Number (940) XXX-XXXX
Signature Block
Approved signatory's name and title for the Follow-up Letter from the FEMA Project Monitor is used
Correct signature block is used
cc: (per region)
Approved CC list for the Follow-up Letter from the FEMA Project Monitor is used
Study Contractors included correctly (if applicable)
Correct FEMA contacts included (if applicable)
Correct NFIP State Coordinator(s) included (if applicable)
Correct RSC contact listed (if applicable)
bcc: (per region)
Approved bcc list for the Follow-up Letter from the FEMA Project Monitor is used
Correct contacts are listed
Cover Letter (if applicable)
Cover letter is included
Includes date of report
Includes correct Watershed Name
Addressed to correct FEMA Project Monitor from Project Team
Includes correct RAMPP Study Manager from Project Team
Approved CC to Relevant State Contacts from Project Team is used

## Abbreviations & Acronyms
Item | Full Translation
AAL | Average Annualized Loss
AoMI | Areas of Mitigation Interest
BFE | Base Flood Elevation
CID | Community Identifier
CIS | Community Information System
CNMS | Coordinated Needs Management Strategy
CRS | Community Rating System
CSLF | Changes Since Last FIRM
DBF | Database File
DCS | Data Capture Standard
ETJ | Extraterritorial Jurisdiction
FBS | Floodplain Boundary Standard
FEMA | Federal Emergency Management Agency
FIRM | Flood Insurance Rate Map
FIS | Flood Insurance Study
FRD | Flood Risk Database
FRM | Flood Risk Map
FRR | Flood Risk Report
GCS | Geographic Coordinate System
HUC | Hydrologic Unit Code
LOMC | Letter of Map Change
LOMR | Letter of Map Revision
MXD | ArcMap Document (file extension)
NAD83 | North American Datum 1983
NAVD88 | North American Vertical Datum 1988
NFIP | National Flood Insurance Program
NSRS | National Spatial Reference System
NVUE | New, Validated, or Updated Engineering
PDF | Portable Document Format
QR | Quality Review
SFHA | Special Flood Hazard Area
SHP | Shapefile (file extension)
TR | Technical Reference
USFWS | United States Fish and Wildlife Service
UTM | Universal Transverse Mercator
WSEL | Water Surface Elevation
XML | Extensible Markup Language (file extension)
XS | Cross Section

## Sign off-QC Stamp
ATKINS QUALITY REVIEW CHECKLIST SIGN OFF FORM
Study / Stream Name | South Llano #12090203
Deliverable | Hazus
MIP Case #:
PM:
QC REVIEW ACTIVITY
Ready for QC | *Originator / Date : | Heath Hannah
2022-08-17
QC Review | *Reviewer / Date : | Nick Turner (no changes required - signed off)
2022-08-22
Changes Made | *Originator/ Date :
QC Verification | *QC Reviewer:
Date:
PQM Approval | *QA:
Date:

## Flood Risk Database
Flood Risk Database Checklist / Quality Record
|  | Study Name |  | Reviewer |  |  |  | Date
|  | #REF! |  | #REF! |  |  |  | #REF!
|  | ID | Flood Risk Database Compliance Check | G&S Reference | Pass / Fail | Reviewer Comments | Originator Disposition | Originator Comments | Approver Verification (Initials) | Approver Comments
General |  | 1 | Coordinate system for vector datasets is GCS North American 1983 (decimal degrees), and vertical datum of NAVD 1988 (U.S. Survey Feet). | FRD TR - Sec 5.0 | N/A | Final FRD should be GCS | Disagree – See Originator Comments | BLE database is in NAD1983 | AM
|  | 2 | Project Footprint defined correctly (S_FRD_Proj_Ar). | FRD TR - Sec 3.0 | N/A
|  | 3 | All FRD tables and feature classes are included within the FRD file-geodatabase, even if they contain no records (Draft) | SID 433 & SID 442 | N/A
|  | 5 | All applicable rasters are loaded into the FRD (according to the scope of the study). | SID 433 | N/A
|  | 6 | All spatial FRD feature classes in the file geodatabase (fGDB) exist within one feature dataset, named "FRD_Spatial_Layers". |  | N/A
|  | 7 | All applicable Relationship Classes exist. | FRD TR - Sec 7.0 | N/A
|  | 8 | All applicable Domains exist. | SID 532 | N/A
|  | 9 | If a table requires a project level summary, those records are included and match S_FRD_Proj (e.g. L_CSLF_Summary). | FRD TR - Sec 3.0 | N/A
|  | 10 | Topology rules for all features have been adhered to/Topology Rules Validated at 0.000000784415 cluster tolerance and 0.0000000784415 resolution in decimal degrees. |  | N/A
|  | 11 | Data passes topology rules as defined in FEMA's Flood Risk Database Technical Reference. | FRD TR - Sec 6.0 | N/A
Base Datasets | All |  | Check that following FRD datasets exist, are functional, and that their fields are properly attributed, have proper null values (required vs. as appropriate), proper domain coding, and consistent and proper unit measure (all items in a field use "feet", etc. uniformly). |  | Pass
| S_FRD_Proj_Ar | 16 | CASE_NO | FRD TR - Sec 3.0 | N/A
|  |  | PROJ_NM |  | N/A
|  |  | HAZUS_VER |  | N/A
|  |  | CENSUS |  | N/A
|  |  | HUC8_CODE |  | N/A
|  |  | VERSION_ID |  | N/A
|  |  | SOURCE_CIT |  | N/A
| S_HUC_Ar (Optional) | 17 | HUC_CODE | FRD TR - Sec 3.0 | N/A
|  |  | HUC_NAME |  | N/A
|  |  | DIGITS |  | N/A
|  |  | CASE_NO |  | N/A
|  |  | VERSION_ID |  | N/A
|  |  | SOURCE_CIT |  | N/A
|  | 18 | HUC includes all HUCs that intersect project area. HUCs should not be clipped. | FRD TR - Sec 3.0 | N/A
| Images | 19 | IMG_ID | FRD TR - Sec 3.0 | N/A
|  |  | CID |  | N/A
|  |  | IMG_BINARY |  | N/A
|  |  | IMG_CPTION |  | N/A
|  |  | CASE_NO |  | N/A
|  |  | VERSION_ID |  | N/A
|  | 20 | Images table stores custom images used in the FRP, or as reference. | FRD TR - Sec 3.0 | N/A
| L_Source_Cit | 21 | SOURCE_CIT | FRD TR - Sec 3.0 | Fail |  | Will Comply and Make Correction |  | AM
|  |  | DFIRM_ID |  | Fail |  | Will Comply and Make Correction |  | AM
|  |  | CITATION |  | Fail |  | Will Comply and Make Correction |  | AM
|  |  | PUBLISHER |  | Pass
|  |  | TITLE |  | Pass
|  |  | AUTHOR |  | Pass
|  |  | PUB_PLACE |  | Pass
|  |  | PUB_DATE |  | Pass
|  |  | WEBLINK |  | Fail | incorrect null, use empty string for optional fields | Disagree – See Originator Comments | Based on "BLE attribution best practice", we should leave as "NP" | AM
|  |  | MEDIA |  | Pass
|  |  | CASE_NO |  | N/A | example has "Blank for now"
|  |  | VERSION_ID |  | Fail |  | Will Comply and Make Correction |  | AM
|  | 22 | L_Source_Cit has an entry for each different data source used in the flood risk project (vector & raster). | FRD TR - Sec 3.0 | Pass
|  | 23 | Source Information uses proper Source Citation Type Abbreviations (BASE, FIRM, LOMC, HAZUS, FIS, or STUDY). | FRD TR - Sec 3.0 | Fail |  | Will Comply and Make Correction |  | AM
|  | 24 | Sources of CSLF data listed | FRD TR - Sec 3.0 | N/A
S_FRAC_Ar (See Flood Risk Assessment Data sheet)
S_FRAS_Pt (See Flood Risk Assessment Data sheet)
L_FRAC_Other_Results (See Flood Risk Assessment Data sheet)
L_FRAS_Other_Results (See Flood Risk Assessment Data sheet)
|  |  |  | Total failure citations for this Flood Risk Database review | 6
|  |  |  | Percent Passing | 87.23%
Other Comments
Note on D7: Shanna Michael: was this for draft delivery? If so should we state "DRAFT", otherwise it conflicts with Submission Materials check #8 and should be deleted. I feel it should be deleted

## Risk Assessment
Risk Assessment Checklist / Quality Record
|  | Study Name |  | Reviewer |  |  |  | Date
|  | #REF! |  | #REF! |  |  |  | #REF!
|  | ID | Risk Assessment Compliance Check | G&S Reference | Pass / Fail | Reviewer Comments | Originator Disposition | Originator Comments | Approver Verification (Initials) | Approver Comments
Base Datasets | All |  | Check that following FRD datasets exist, are functional, and that their fields are properly attributed, have proper null values (required vs. as appropriate), proper domain coding, and consistent and proper unit measure (all items in a field use "feet", etc. uniformly). |  | Fail | See items below | Will Comply and Make Correction |  | AM
| S_FRAC_Ar | 1 | CEN_BLK_ID | FRD TR - Sec 3.0 | Pass
|  |  | ARV_BG_TOT |  | Pass
|  |  | ARV_CN_TOT |  | Pass
|  |  | HAZARD_TYP |  | Pass
|  |  | SCENAR_ID |  | N/A | example has primary key here but that doesn’t match spec |  | Not required for BLE db | AM
|  |  | TOT_LOSS10 |  | N/A
|  |  | BL_TOT10 |  | N/A
|  |  | CL_TOT10 |  | N/A
|  |  | TOT_LOSS04 |  | N/A
|  |  | BL_TOT04 |  | N/A
|  |  | CL_TOT04 |  | N/A
|  |  | TOT_LOSS02 |  | N/A
|  |  | BL_TOT02 |  | N/A
|  |  | CL_TOT02 |  | N/A
|  |  | TOT_LOSS01 |  | Pass
|  |  | BL_TOT01 |  | Pass
|  |  | CL_TOT01 |  | Pass
|  |  | TOT_LSS0_2 |  | N/A
|  |  | BL_TOT0_2 |  | N/A
|  |  | CL_TOT0_2 |  | N/A
|  |  | TOT_LSSAAL |  | N/A
|  |  | BL_TOTAAL |  | N/A
|  |  | CL_TOTAAL |  | N/A
|  |  | HUC8_CODE |  | Pass
|  |  | CASE_NO |  | N/A
|  |  | VERSION_ID |  | Fail | not populated | Will Comply and Make Correction |  | AM
|  |  | SOURCE_CIT |  | Fail | not populated | Will Comply and Make Correction |  | AM
|  | 2 | All Census blocks that intersect project area are to be included in full (do not clip). | SID 432 & FRA Guid. Sec 4.2.1 | N/A | dasymetric blocks delivered. Confirm this is correct
|  | 3 | S_FRAC_Ar dollars are real dollars, not 1000s exported from Hazus. | Flood Risk Assmnt Guid. Sec 4.2.2 | Pass | appears to be but please confirm
| S_FRAS_Pt | 4 | FRAS_ID | FRD TR - Sec 3.0 | N/A
|  |  | CEN_BLK_ID |  | N/A
|  |  | OCCUP_TYP |  | N/A
|  |  | ARV_BG_TOT |  | N/A
|  |  | ARV_CN_TOT |  | N/A
|  |  | HAZARD_TYP |  | N/A
|  |  | SCENAR_ID |  | N/A
|  |  | BLD_LOSS10 |  | N/A
|  |  | CNT_LOSS10 |  | N/A
|  |  | INV_LOSS10 |  | N/A
|  |  | BLD_LOSS04 |  | N/A
|  |  | CNT_LOSS04 |  | N/A
|  |  | INV_LOSS04 |  | N/A
|  |  | BLD_LOSS02 |  | N/A
|  |  | CNT_LOSS02 |  | N/A
|  |  | INV_LOSS02 |  | N/A
|  |  | BLD_LOSS01 |  | N/A
|  |  | CNT_LOSS01 |  | N/A
|  |  | INV_LOSS01 |  | N/A
|  |  | BLD_LSS0_2 |  | N/A
|  |  | CNT_LSS0_2 |  | N/A
|  |  | INV_LSS0_2 |  | N/A
|  |  | BLD_LSSAAL |  | N/A
|  |  | CNT_LSSAAL |  | N/A
|  |  | INV_LSSAAL |  | N/A
|  |  | HUC8_CODE |  | N/A
|  |  | CASE_NO |  | N/A
|  |  | VERSION_ID |  | N/A
|  |  | SOURCE_CIT |  | N/A
|  |  | S_FRAS_Pt dollars are real dollars, not 1000s exported from Hazus. | Flood Risk Assmnt Guid. Sec 4.2.2 | N/A
Custom / Region-specific datasets |  | 5 | S_FRAC_AR visually reviewed with WSE01% grid |  | Pass
6
7
8
9
10
11
12
13
14
|  |  |  | Total failure citations for this Flood Risk Database review | 3
|  |  |  | Percent Passing | 95%
Other Comments

## AoMI
Area of Mitigation Interest Checklist / Quality Record
|  | Study Name |  | Reviewer |  |  |  | Date
|  | South Llano (12090203) |  | Andrew MacDonald |  |  |  | 2022-07-06
|  | ID | AoMI Compliance Check | G&S Reference | Pass / Fail | Reviewer Comments | Originator Disposition | Originator Comments | Approver Verification (Initials) | Approver Comments
AoMI | S_AoMI_Pt | 1 | AOMI_ID | FRD TR - Sec 3.0 | Pass
|  |  | CID |  | Pass
|  |  | POL_NAME1 |  | Pass
|  |  | AOMI_CLASS |  | Pass
|  |  | AOMI_TYP |  | Fail | High water marks and Low water crossings should be Other/Misc Structure to be consistent with other watersheds. | Will Comply and Make Correction | AM
|  |  | AOMI_INFO |  | Fail | Add information about what the AOMI point is for other/misc structures. You can keep the stream names also. Ex. "Highwater mark - Flooding Source: Brady Creek" | Will Comply and Make Correction | AM
|  |  | NOTES |  | Pass
|  |  | HUC8_CODE |  | Pass
|  |  | CASE_NO |  | Pass
|  |  | VERSION_ID |  | Pass
|  |  | SOURCE_CIT |  | Pass
|  | 2 | For sensitive data (e.g. clusters of repetitive losses, claims data, etc.), AoMI area must not be generalized to the census block. | AoMI Guidance Sec 4.5 & Sec 8.0 | Pass
|  | 3 | The AOMI_INFO field is populated appropriately based on the type of AoMI area. | FRD TR - Sec 3.0 | Pass
|  | 4 | AoMI data collected at Discovery is checked to make sure it is still current or is updated as necessary. | AoMI Guidance Sec 6.0 | Pass
|  |  |  | Total failure citations for this Flood Risk Database review | 2
|  |  |  | Percent Passing | 85.71%
Other Comments

## Other Stuff (hidden)
Passfail | Disposition
Pass | Will Comply and Make Correction
Fail | Disagree – See Originator Comments
N/A